Pool Pro Sample Specification

All “Pool-Pro” Type SP Butterfly Valves sizes 1 1/2”-12” shall be of a

Pvc Body,Pvc Disc and Epdm construction suitable for Chlorinated

water applications. Stem shall be of 316 stainless steel and non-wetted.

Valves shall be a self-gasketing design with a convex sealing

arrangement. All “Pool-Pro” Type SP (1 1/2”-10”) valves shall be rated

to 150 psi and size (12”) 100 psi at 70 degrees F as manufactured by

Asahi/America.