Georg Fisher Type 514, 515, 517, 619 Diaphragm Valve – Engineering Specification - 06/08/2010

1.0 Summary

The product specified in this document is for Type 514-519 diaphragm valve from Georg Fischer.

2.0 Specification and Certifications

The valve is to meet ASTM standards for PVC and CPVC materials. The 517 flanged valve shall meet the ANSI B16.5 150 lb standard. Polypropylene and PVDF versions shall be FDA CFR 21 177.1520 and USP 25 Class VI (physiological non-toxic) compliant (excluding NBR diaphragm). Polypropylene diaphragm valves will be in accordance with EN ISO 15494 specification. PVDF diaphragm valves will be in accordance with ISO 10931 specification.

2.1 Assembly/Exposed Fasteners

Valve top-works shall be connected to the lower body with a central threaded bonnet; no metal bolts shall be used. Assembly of valve requires alignment of molded indicators and must not require special torque measuring devices. Valve shall not require re-torquing.

2.2 Pressure/Temperature

The 514-519 Diaphragm valves are rated for:

150 PSI or optional 240 PSI for PVC sizes 1/2” to 2” at 72°F

150  PSI for CPVC, PP, ABS ½ to 2” at 72°F

240 PSI for PVDF ½ to 2” at 72°F

2.3 Materials

The 514-519 valve body shall be constructed of PVC, CPVC, Polypropylene, ABS or PVDF.  The upper body shall be made of UV resistant glass filled polypropylene. O-rings in union version shall be FPM or EPDM. Diaphragm material shall be one of the following and can be identified by external visual indicator.

- EPDM - Black

- FPM - Red

- NBR - Blue

- PTFE backed with EPDM - White

- PTFE backed with FPM – Green

2.4 Function Type 514 True Union

Valves shall have stainless steel inserts for securing valves with fasteners. The 514 valve shall be true union allowing for easy repair or replacement in the field. A position indicator must be present to determine diaphragm position.

2.5 Function Type 515 Spigot

Valves shall have stainless steel inserts for securing valves with fasteners. The 515 valve shall have spigot ends eliminating weak point of mechanical connection. Upper section of valve shall be field replaceable preventing the need to cut out valve body. A position indicator must be present to determine diaphragm position. 515 valves shall be compatible with the George Fischer Bead and Crevice Free (BCF Plus) or Infrared (IR Plus) fusion technology.

2.6 Function Type 517 Flanged

Valves shall have stainless steel inserts for securing valves with fasteners. The 517 valve shall have a ANSI 150lb flanged connection. A position indicator must be present to determine diaphragm position.

2.7 Function Type 519

The 519 zero static valve shall have spigot ends and integrate in the piping system with a third port perpendicular to the flow. The valve shall a have a design as not to allow liquid to sit stagnate and must be completely drainable. A position indicator must be present to determine diaphragm position. 519 valves shall be compatible with the George Fischer Bead and Crevice Free (BCF Plus) or Infrared (IR Plus) fusion technology.

3.0 Accessories

Pneumatic actuation shall be available for diaphragm valves.

4.0 Approved Manufacturer

Approved manufacturer is Georg Fischer with no equal.